## Estimate
SAMPLE ESTIMATE
|  | BIDDING SOLUTIONS LLC | [5 empty] | BIDDING SOLUTIONS LLC
| Date: | [6 empty] | Summary | Amount
| Project: | [6 empty] | Sub Total | 844298.4423
| Adress: | [6 empty] | Profit/Overhead | 211074.6106
[8 empty] | Total | 1055373.0528
ITEM # | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST (LAB+MAT) | TOTAL ITEM COST | TRADE COST
| DIV.01 | GENERAL REQUIREMENTS | [6 empty] | 0
1 |  | Permits Documentation And Fees | 1 | 0% | 1 | LS |  | 0
2 |  | Hazardous Waste Or Disposal Work | 1 | 0% | 1 | LS |  | 0
3 |  | Owner Purchased, Contractor Installed Items | 1 | 0% | 1 | LS |  | 0
4 |  | Contractors Use Of New And Existing Facilities | 1 | 0% | 1 | LS |  | 0
5 |  | Correction Of Unsatisfactory Conditions | 1 | 0% | 1 | LS |  | 0
6 |  | Restoration Of Unit Damaged During Installation | 1 | 0% | 1 | LS |  | 0
7 |  | Replacement Of Units Which Cannot Be Restored | 1 | 0% | 1 | LS |  | 0
8 |  | Maintaining Existing Construction In Weather High Conditions | 1 | 0% | 1 | LS |  | 0
9 |  | Signage | 1 | 0% | 1 | LS |  | 0
10 |  | Supervisory Personnel | 1 | 0% | 1 | LS |  | 0
11 |  | Temporary Services | 1 | 0% | 1 | LS |  | 0
12 |  | Water | 1 | 0% | 1 | LS |  | 0
13 |  | Lighting And Power | 1 | 0% | 1 | LS |  | 0
14 |  | Toilet Facilities | 1 | 0% | 1 | LS |  | 0
15 |  | Material Storage | 1 | 0% | 1 | LS |  | 0
16 |  | Contractor's Safety Program | 1 | 0% | 1 | LS |  | 0
| DIV.02 | DEMOLITION & SITEWORKS | [6 empty] | 25456.1398
BUILDING DEMOLITION
17 |  | Bath Tub to be Removed | 1 | 0% | 1 | EA | 85 | 85
18 |  | Countertop to be Removed | 21.03 | 10% | 23.133 | SF | 35.4 | 818.9082
19 |  | Cut & Remove Exsisting Slab on Grade | 207.18 | 10% | 227.898 | SF | 3.4 | 774.8532
20 |  | Door to be removed | 18 | 0% | 18 | EA | 65 | 1170
21 |  | Remove Existing Fence | 235.42 | 0% | 235.42 | LF | 1.4 | 329.588
22 |  | Stairs to be Removed | 20 | 0% | 20 | EA | 95 | 1900
23 |  | Wall Coping to be Restored | 40.52 | 10% | 44.572 | LF | 3.2 | 142.6304
24 |  | Wall to be removed | 397.14 | 10% | 436.854 | LF | 24 | 10484.496
25 |  | Floor finishes to be removed | 1910 | 10% | 2101 | SF | 2.2 | 4622.2
SITE WORKS
26 |  | 6" Thick Concrete Pavement | 541.02 | 10% | 595.122 | SF | 7.2 | 4284.8784
27 |  | Stabilized Construction Entrance | 319.54 | 10% | 351.494 | SF | 2.4 | 843.5856
| DIV.03 | CONCRETE | [6 empty] | 26281.1891
CONCRETE FOOTINGS
28 |  | 10" Thick Concrete Footing 2/ #4 Bars @ 10" OC. Each Way. | 1.8767 | 10% | 2.0644 | CY | 840 | 1734.0913
29 |  | 20"x10" Concrete Footing w/ (3) #4 Bars Reinforcement. | 1.6875 | 10% | 1.8563 | CY | 840 | 1559.2961
30 |  | 30"x10" Concrete Footing w/ (3) #4 Bars Reinforcemnet | 7.6667 | 10% | 8.4334 | CY | 840 | 7084.0684
31 |  | 48x48x10 Concrete Footing w/ (5)-#4 bars EW. | 1.9674 | 10% | 2.1641 | CY | 840 | 1817.8844
CONCRETE SLAB
32 |  | 4" thick concete slab on grade w/ 6x6 w2. 0xw2.0 WWF. reforcement | 1408.46 | 10% | 1549.306 | SF | 5.6 | 8676.1136
CONCRETE BOND BEAMS
33 |  | 8" Bond Beam w/ (2)-#4 Bars Reinforcements | 45.17 | 10% | 49.687 | LF | 35 | 1739.045
STAIRS CONCRETE
34 |  | Concrete Footing for stairs | 2.0741 | 10% | 2.2815 | CY | 790 | 1802.3704
35 |  | Concrete Stem Wall | 0.1737 | 10% | 0.19107 | CY | 790 | 150.9485
36 |  | Concrete Support | 0.43426 | 10% | 0.47769 | CY | 790 | 377.3713
37 |  | 11" tread & 6" Riser Concrete Stairs w/ #4 @ 12"OC HORIZONTAL | 4 | 0% | 4 | RISERS | 335 | 1340
| DIV.04 | MASONARY | [6 empty] | 11808.335
CMU STEM WALLS
38 |  | 8" CMU Stem Wall w/ #4 Bars @ 16' OC. | 334.075 | 10% | 367.4825 | SF | 13.4 | 4924.2655
39 |  | 8" CMU Stem Wall w/ #4 Bars @ 8" OC. | 40.675 | 10% | 44.7425 | SF | 13.4 | 599.5495
40 |  | New 4" dia Perforated Drain Covered w/ gravels | 264.5 | 10% | 290.95 | LF | 21.6 | 6284.52
| DIV.05 | METALS | [6 empty] | 5408.9398
STEEL COLUMNS
41 |  | 3" dia Shedule 40 Lally Column | 32 | 10% | 35.2 | LF | 41.5 | 1460.8
42 |  | MC 12X10.6 Steel Channels | 30.39 | 10% | 33.429 | LF | 45.4 | 1517.6766
43 |  | W 12 x22 Steel beam | 42.82 | 10% | 47.102 | LF | 51.6 | 2430.4632
| DIV.06 | WOODS, PLASTICS & COMPOSITES | [6 empty] | 105552.1038
WOOD BEAMS
44 |  | 1 3/4" x 11 7/8" LVL Beam | 620.04 | 10% | 682.044 | LF | 19.5 | 13299.858
45 |  | 1 3/4" x 11 7/8" LVL RIM BOARD | 157.66 | 10% | 173.426 | LF | 19.5 | 3381.807
46 |  | 1 3/4" x 11 7/8" LVL cleat | 22.79 | 10% | 25.069 | LF | 19.5 | 488.8455
47 |  | 1 3/4"x 23 7/8" LVL | 116.85 | 10% | 128.535 | LF | 25.4 | 3264.789
48 |  | 1"x12" Flush Steel Flinch plate b/w (4) 1 13/4" x 11 7/8" LVL's | 34.14 | 10% | 37.554 | LF | 24.1 | 905.0514
49 |  | Flush Triple 1 3/4" x 11 7/8" LVL | 151.02 | 10% | 166.122 | LF | 24.1 | 4003.5402
50 |  | PT 2X6 Sill plate Placed on New Wall. | 78.36 | 10% | 86.196 | LF | 11.5 | 991.254
51 |  | PT 2x12 Ledger | 107.67 | 10% | 118.437 | LF | 14.5 | 1717.3365
52 |  | Treated 2x6 Sill plate | 73.8 | 10% | 81.18 | LF | 8.5 | 690.03
53 |  | 11 7/8" LVL's @ 16" OC | 125.41 | 10% | 137.951 | SF | 3.6 | 496.6236
WOOD COLUMNS & STUDS
54 |  | 2x6 Douglass Fir #1 Studs @ 16 " OC | 2266.13 | 10% | 2492.743 | SF | 2.8 | 6979.6804
55 |  | 4x8 PSL Columns | 152 | 10% | 167.2 | LF | 21.6 | 3611.52
FLOOR JOIST
56 |  | Floor joists 11 7/8" IB 600'S @ 16" OC. | 4182.92 | 10% | 4601.212 | SF | 3.4 | 15644.1208
57 |  | 3/4"Sub-floor Sheathing | 4182.92 | 10% | 4601.212 | SF | 3.6 | 16564.3632
ROOF RAFTERS
58 |  | Place 1/2" Decking on Ripped 2x Seepers @ 24"OC. | 1271.17 | 10% | 1398.287 | SF | 3.6 | 5033.8332
59 |  | Roof Rafters : 11 7/8" IB @ 16" OC. | 1286.95 | 10% | 1415.645 | SF | 3.8 | 5379.451
WOODEN STAIRS
60 |  | 6"riser x 11"tread wooden Stairs w/ nosing & framing w/ 2x12 stringer | 70 | 0% | 70 | RISERS | 330 | 23100
| DIV.07 | THERMAL & MOISTURE CONTROL | [6 empty] | 22200.7104
ROOFING
61 |  | Valley Beam | 142.48 | 10% | 156.728 | LF | 14 | 2194.192
62 |  | Ridge Beam | 52 | 10% | 57.2 | LF | 14 | 800.8
63 |  | Ridge Vent | 52 | 10% | 57.2 | LF | 4.5 | 257.4
64 |  | 2 x 8 Aluminium Fascia | 118 | 10% | 129.8 | LF | 12.4 | 1609.52
65 |  | Aluminium Gutter | 118 | 10% | 129.8 | LF | 13.5 | 1752.3
66 |  | Connitinuous Metal Drip Edge | 118 | 10% | 129.8 | LF | 5.4 | 700.92
67 |  | Ice & Water Sheilding | 1260.6 | 10% | 1386.66 | SF | 3.9 | 5407.974
68 |  | R-49 Batt Insulation | 1260.6 | 10% | 1386.66 | SF | 2.2 | 3050.652
69 |  | Downspouts | 139.56 | 10% | 153.516 | LF | 11.4 | 1750.0824
PENTHOUSE ROOFING
70 |  | Heavy Guage Metal cap Flashing | 180 | 10% | 198 | SF | 3.4 | 673.2
71 |  | Bottom flashing | 180 | 10% | 198 | SF | 3.4 | 673.2
72 |  | mod- Bit Roofing | 109 | 10% | 119.9 | SF | 5.2 | 623.48
73 |  | R-49 Insulation | 109 | 10% | 119.9 | SF | 2.1 | 251.79
PARAPET WALL
74 |  | 2X6 wood stud framing @ 16"OC | 360 | 10% | 396 | SF | 2.8 | 1108.8
75 |  | 3/4" Plywood @ inner side of Parapet wall | 360 | 10% | 396 | SF | 3.4 | 1346.4
| DIV.08 | OPENINGS | [6 empty] | 70950
DOORS
EXTERIOR
76 |  | Uneven Glass Frame Pair Doors , 8'-0" x 6'-0" | 4 | 0% | 4 | EA | 1900 | 7600
77 |  | Flush With Louver Pair Doors , 7'-0" x 5'-4" | 1 | 0% | 1 | EA | 1200 | 1200
78 |  | Glass Frame Door , 8'-0" x 2'-6" | 1 | 0% | 1 | EA | 950 | 950
INTERIOR
79 |  | Flush with Louver ,7'-0" x 2'-8" | 26 | 0% | 26 | EA | 720 | 18720
80 |  | Glass Door , 6'-6" x 2'-6" | 7 | 0% | 7 | EA | 850 | 5950
81 |  | Flush With Louver ,7'-0" x 2'-10" | 3 | 0% | 1 | EA | 720 | 720
82 |  | Glass Frame Door , 7'-0" x 3'-0" | 7 | 0% | 7 | EA | 750 | 5250
83 |  | Glass Door , 6'-6" x 2'-3" | 1 | 0% | 1 | EA | 850 | 850
WINDOWS
84 |  | Window-Awning 3'-4" x 2'-6" | 3 | 0% | 3 | EA | 390 | 1170
85 |  | Window-Picture 3'-0" x 5'-0" | 2 | 0% | 4 | EA | 450 | 1800
86 |  | Window-Engress 3'-0" x 5'-0" | 3 | 0% | 4 | EA | 450 | 1800
87 |  | Window Awning 3'-4" x 1'-4" | 1 | 0% | 1 | EA | 350 | 350
88 |  | Window Picture 3'-4" x 5'-0" | 19 | 0% | 34 | EA | 410 | 13940
89 |  | Window- Casement 3'-4" x 5'-0" | 14 | 0% | 15 | EA | 410 | 6150
90 |  | Window Awning 3'-4" x 4'-0" | 9 | 0% | 9 | EA | 400 | 3600
91 |  | Window-Transom 3'-6" x 1'-4" | 1 | 0% | 1 | EA | 300 | 300
92 |  | Window-Awning 2'-6" x 1'-6" | 2 | 0% | 2 | EA | 300 | 600
| DIV.09 | FINISHES | [6 empty] | 312170.9366
EXTERIOR FINISHES
93 |  | 3'-0" Bollards | 11 | 0% | 11 | EA | 450 | 4950
94 |  | Electeric Meter | 1 | 0% | 1 | EA | 400 | 400
95 |  | Metal Diamond Shaped Shingles By ATAS (Material # 1) | 1568.67 | 10% | 1725.537 | SF | 5.2 | 8972.7924
96 |  | Metal Siding By ATAS (Material # 3) | 1551.74 | 10% | 1706.914 | SF | 9.5 | 16215.683
97 |  | Scupper | 5 | 0% | 5 | EA | 11 | 55
98 |  | Siding By ATAS ( Material # 2) | 156.37 | 10% | 172.007 | SF | 6.5 | 1118.0455
99 |  | Steel Guardrail | 6.97 | 10% | 7.667 | LF | 65 | 498.355
CEILING FINISH
100 |  | Paint @ Ceiling (2 Coats of Paint & 1 Coat of Primer) | 5250 | 10% | 5775 | SF | 2.5 | 14437.5
101 |  | 5/8" Sheetrock Brand Firecode C Core Gypsum Panel | 5250 | 10% | 5775 | SF | 4.2 | 24255
FLOOR FINISHES
102 |  | Wood Flooring | 1943 | 10% | 2137.3 | SF | 11.5 | 24578.95
103 |  | Carpet Flooring | 2439 | 10% | 2682.9 | SF | 10.5 | 28170.45
104 |  | Vinyl Flooring | 756 | 10% | 831.6 | SF | 12.4 | 10311.84
105 |  | Ceramic Tiles | 387 | 10% | 425.7 | SF | 13.5 | 5746.95
WALL FINISHES
WALL PAINT
106 |  | Paint @ Wall (2 Coats of Paint & 1 Coat of Primer) | 13547 | 10% | 14901.7 | SF | 2.5 | 37254.25
WALL BASE
107 |  | 6" Wood Tile Base | 707 | 0% | 707 | LF | 6.5 | 4595.5
108 |  | 6" Carpet Tile Base | 744 | 0% | 744 | LF | 6.5 | 4836
109 |  | 6" Vinyl Tile Base | 307 | 0% | 307 | LF | 7.2 | 2210.4
110 |  | Crown Molding | 1758 | 0% | 1758 | LF | 8.1 | 14239.8
WALL TILES
111 |  | Ceramic Tiles | 1010 | 10% | 1111 | SF | 14.5 | 16109.5
112 |  | 1/2" Becker Board | 1010 | 10% | 1111 | SF | 2.9 | 3221.9
WALLS
WALL 1
113 |  | 2x4 Wood studs framing @ 16"OC | 4021.16 | 10% | 4423.276 | SF | 2.6 | 11500.5176
114 |  | 5/8" Gypsum Board | 8042 | 10% | 8846.2 | SF | 2.9 | 25653.98
WALL 3
115 |  | 1 5/8"X 1 5/8" Steel Studs @ 16" OC | 1083 | 10% | 1191.3 | SF | 2.7 | 3216.51
116 |  | 5/8": Gypsum Board | 1083 | 10% | 1191.3 | SF | 2.9 | 3454.77
117 |  | 1 1/2" Batt Insulation | 1083 | 10% | 1191.3 | SF | 2.1 | 2501.73
WALL 2
118 |  | 2x4 Wood studs framing @ 16"OC | 807.12 | 10% | 887.832 | SF | 2.6 | 2308.3632
119 |  | 3 1/2" Batt Insulation | 807.12 | 10% | 887.832 | SF | 2.1 | 1864.4472
120 |  | 5/8" INT. Fire rated Gypsum Board | 1614.24 | 10% | 1775.664 | SF | 3 | 5326.992
WALL 4
121 |  | 2x6 Wood studs framing @ 16"OC | 1812.79 | 10% | 1994.069 | SF | 2.9 | 5782.8001
122 |  | 5/8": Gypsum Board | 1812.79 | 10% | 1994.069 | SF | 2.9 | 5782.8001
123 |  | 5/8" Sheetrock Brand Firecode C Core Gypsum panel | 1812.79 | 10% | 1994.069 | SF | 3.1 | 6181.6139
124 |  | Building Wrap | 1812.79 | 10% | 1994.069 | SF | 1.8 | 3589.3242
WALL 5
125 |  | 12" Masonary on Concrete Retaining Wall | 658.92 | 10% | 724.812 | SF | 10.6 | 7683.0072
126 |  | 7/8" STEEL STUD W/ UL #U905 (2HR RATED) | 658.92 | 10% | 724.812 | SF | 1.9 | 1377.1428
127 |  | 1/2"Fire Gypsum Board | 658.92 | 10% | 724.812 | SF | 3.1 | 2246.9172
128 |  | 1 1/2 " Rigid Insulation on Z - Channels | 658.92 | 10% | 724.812 | SF | 2.1 | 1522.1052
| DIV.10 | SPECIALITIES | [6 empty] | 5520
129 |  | Shower Base | 7 | 0% | 7 | EA | 140 | 980
130 |  | Toilet Tissue Dispenser | 7 | 0% | 7 | EA | 180 | 1260
131 |  | Towel Bar | 7 | 0% | 7 | EA | 95 | 665
132 |  | Robe Hook | 7 | 0% | 7 | EA | 95 | 665
133 |  | Lighted Medicine Cabin | 4 | 0% | 4 | EA | 240 | 960
134 |  | Mirror | 3 | 0% | 3 | EA | 330 | 990
| DIV. 11 | EQUIPMENTS | [6 empty] | 7900
135 |  | Washer | 3 | 0% | 3 | EA | 240 | 720
136 |  | Dryer | 3 | 0% | 3 | EA | 300 | 900
137 |  | MailBoxes | 1 | 0% | 1 | EA | 280 | 280
138 |  | Refridgerator | 3 | 0% | 3 | EA | 200 | 600
139 |  | Range | 3 | 0% | 3 | EA | 600 | 1800
140 |  | Microwave | 3 | 0% | 3 | EA | 210 | 630
141 |  | Dishwasher | 3 | 0% | 3 | EA | 400 | 1200
142 |  | Garbage Disposal | 3 | 0% | 3 | EA | 310 | 930
143 |  | Disposal Button | 3 | 0% | 3 | EA | 140 | 420
144 |  | Faucet - Kitchen | 3 | 0% | 3 | EA | 140 | 420
| DIV.12 | FURNISHES | [6 empty] | 13020
MILWORKS
145 |  | Base Cabinet-4 Drawers 15" x 24" x 34 1/2" | 3 | 0% | 3 | EA | 310 | 930
146 |  | Vanity Cabinet - Double Door Sink Unit 42" x 24" x 34 1/2" | 3 | 0% | 3 | EA | 310 | 930
147 |  | Vanity Counter Top with Square Sink Hole 24" x 31" | 5 | 0% | 5 | EA | 310 | 1550
148 |  | Tall Cabinet Single Door 72" x 24" x 84" | 1 | 0% | 1 | EA | 310 | 310
149 |  | Tall Cabinet Single Door 144" x 24" x 84" | 1 | 0% | 1 | EA | 310 | 310
150 |  | Vanity Cabinet - Double Door Sink Unit 24" x 19" x 34 1/2" | 1 | 0% | 1 | EA | 310 | 310
151 |  | Tall Cabinet Single Door 96" x 24" x 84" | 2 | 0% | 2 | EA | 310 | 620
152 |  | Tall Cabinet Single Door 120" x 24" x 84" | 1 | 0% | 1 | EA | 310 | 310
153 |  | Tall Cabinet Single Door 24" x 24" x 84" | 1 | 0% | 1 | EA | 310 | 310
154 |  | Base Cabinet-3 Drawers 90" x 24" x 34 1/2" | 3 | 0% | 3 | EA | 310 | 930
155 |  | Base Cabinet-4 Drawers 60" x 24" x 34 1/2" | 3 | 0% | 3 | EA | 310 | 930
156 |  | Base Cabinet Double Door Unit Sink 36" x 24" x 34 1/2" | 2 | 0% | 2 | EA | 310 | 620
157 |  | Base Cabinet Single Door 30" x 24" x 34 1/2" | 2 | 0% | 2 | EA | 310 | 620
158 |  | Upper Cabinet Double Door Wall 150" x 12" | 2 | 0% | 2 | EA | 310 | 620
159 |  | Upper Cabinet Single Door -Wall 12" x 12" x 36" | 2 | 0% | 2 | EA | 310 | 620
160 |  | Vanity Cabinet Double Door Sink Unit 24" x 19" x 34 1/2" | 2 | 0% | 2 | EA | 310 | 620
161 |  | Tall Cabinet Single Door 96" x 24" x 84" | 1 | 0% | 1 | EA | 310 | 310
162 |  | Tall Cabinet Single Door 120" x 24" x 84" | 1 | 0% | 1 | EA | 310 | 310
163 |  | Tall Cabinet Single Door 24" x 24" x 84" | 1 | 0% | 1 | EA | 310 | 310
164 |  | Vanity Counter Top with Square Sink Hole 21" x 31" | 3 | 0% | 3 | EA | 310 | 930
165 |  | Vanity Cabinet - Double Door Sink Unit 36" x 24" x 34 1/2" | 2 | 0% | 2 | EA | 310 | 620
| DIV.22 | PLUMBING | [6 empty] | 57207.3677
DRAINAGE PIPE
166 |  | Sanitary Pipe | 322.97 | 10% | 355.267 | LF | 20.6 | 7318.5002
UTILITY PIPE ( Sizes Not Mentioned )
167 |  | Cold Water Piping | 302.36 | 10% | 332.596 | LF | 16.5 | 5487.834
168 |  | Hot Water Piping | 201.18 | 10% | 221.298 | LF | 16.5 | 3651.417
169 |  | Fire Service Piping | 90.27 | 10% | 99.297 | LF | 14.5 | 1439.8065
170 |  | Vent Pipe | 214.28 | 10% | 235.708 | LF | 14.5 | 3417.766
171 |  | Gas Pipe | 117.78 | 10% | 129.558 | LF | 18 | 2332.044
PLUMBING FIXTURES
172 |  | Sink Vanity-Square | 2 | 0% | 3 | EA | 510 | 1530
173 |  | Sink Kitchen-Double | 1 | 0% | 3 | EA | 550 | 1650
174 |  | Water Closet | 11 | 0% | 11 | EA | 780 | 8580
175 |  | Lavatory | 13 | 0% | 13 | EA | 800 | 10400
176 |  | Shower | 7 | 0% | 7 | EA | 1200 | 8400
177 |  | Washer Box | 3 | 0% | 3 | EA | 600 | 1800
178 |  | Water Heater | 2 | 0% | 2 | EA | 600 | 1200
| DIV.23 | MECHANICAL | [6 empty] | 36846.9651
DUCTS WORK
179 |  | 4" Circular Duct | 32.09 | 10% | 35.299 | LF | 6.2 | 218.8538
180 |  | 6"Circular Duct | 165.91 | 10% | 182.501 | LF | 8.2 | 1496.5082
181 |  | 8"Circular Duct | 62.47 | 10% | 68.717 | LF | 10.5 | 721.5285
182 |  | 10" x 8" Rectangular Duct | 56.19 | 10% | 61.809 | LF | 11 | 679.899
183 |  | 8" x 8" Rectangular Duct | 46.03 | 10% | 50.633 | LF | 6.5 | 329.1145
184 |  | 10" x 10" Rectangular Duct | 10.74 | 10% | 11.814 | LF | 12.4 | 146.4936
185 |  | 24" x 10" Rectangular Duct | 4.75 | 10% | 5.225 | LF | 18.5 | 96.6625
186 |  | 28" x 10" Rectangular Duct | 6.69 | 10% | 7.359 | LF | 18.5 | 136.1415
187 |  | 16" x 10" Rectangular Duct | 2 | 10% | 2.2 | LF | 14.5 | 31.9
188 |  | 8" x 6" Rectangular Duct | 36.23 | 10% | 39.853 | LF | 9.5 | 378.6035
189 |  | 12" x 10" Rectangular Duct | 5.12 | 10% | 5.632 | LF | 11.8 | 66.4576
190 |  | 4" x 6" Rectangular Duct | 6.28 | 10% | 6.908 | LF | 6.5 | 44.902
191 |  | 12" x 8"Rectangular Duct | 14.06 | 10% | 15.466 | LF | 11.4 | 176.3124
192 |  | 18" x 8" Rectangular Duct | 30.39 | 10% | 33.429 | LF | 16.5 | 551.5785
193 |  | 12" x 6" Rectangular Duct | 29.35 | 10% | 32.285 | LF | 11.5 | 371.2775
194 |  | 24"x 8" Rectangular Duct | 8.97 | 10% | 9.867 | LF | 22.4 | 221.0208
195 |  | 10" x 6" Rectangular Duct | 23.44 | 10% | 25.784 | LF | 11.5 | 296.516
196 |  | 12" x 8" Rectangular Duct | 6.52 | 10% | 7.172 | LF | 11.6 | 83.1952
UNIT SPLIT SYSTEM
197 |  | Air Handling Unit /Heat Pump-1 , 1770 Cfm , 240V | 1 | 0% | 1 | EA | 3500 | 3500
198 |  | Air Handling Unit /Heat Pump-2 , 1025 Cfm , 240V | 1 | 0% | 1 | EA | 3500 | 3500
199 |  | Air Handling Unit /Heat Pump-3 , 1045 Cfm , 240V | 1 | 0% | 1 | EA | 3500 | 3500
200 |  | Air Handling Unit /Heat Pump-4 , 220 Cfm , 240V | 1 | 0% | 1 | EA | 3500 | 3500
EXAUST FAN
201 |  | Exhaust Fan , 1050 Rpm , 80 Cfm , 120V | 11 | 0% | 11 | EA | 550 | 6050
DIFFUSER AND GRILLE
202 |  | A - Steel Aeroblade Double Deflection Supply Register, 3/4" Blade Spacing,Front Blades Parallel to Short Dimension , TITUS 272 RS Series , 0-100 | 12 | 0% | 12 | EA | 430 | 5160
203 |  | B - Steel Aeroblade Double Deflection Supply Register, 3/4" Blade Spacing,Front Blades Parallel to Short Dimension , TITUS 272 RS Series , 101-200 | 7 | 0% | 7 | EA | 430 | 3010
204 |  | C -Steel Aeroblade Double Deflection Supply Register, 3/4" Blade Spacing,Front Blades Parallel to Short Dimension , TITUS 272 RS Series , 201-350 | 2 | 0% | 2 | EA | 430 | 860
205 |  | E - Aluminium Aeroblade Return Grile , 45 Degree Deflection , TITUS 4FL Series , 0-1000 | 3 | 0% | 3 | EA | 430 | 1290
206 |  | g - Aluminium Aeroblade Return Grile , 45 Degree Deflection , TITUS 4FL Series , 0-1700 | 1 | 0% | 1 | EA | 430 | 430
| DIV. 26 | ELECTRICAL | [6 empty] | 133210
LIGHTINING FIXTURES
207 |  | Emergency Lighting Unit | 4 | 0% | 4 | EA | 350 | 1400
208 |  | Combination Exit Sign-Emergency Lighting Unit | 2 | 0% | 2 | EA | 380 | 760
209 |  | Vanity Sconce | 10 | 0% | 10 | EA | 330 | 3300
210 |  | Suspended Linear Dining Light | 5 | 0% | 5 | EA | 435 | 2175
211 |  | Safty Switch | 10 | 0% | 10 | EA | 140 | 1400
212 |  | Recessed Fire Rated Led | 125 | 0% | 125 | EA | 290 | 36250
213 |  | Recessed Wet Location Led | 7 | 0% | 7 | EA | 290 | 2030
214 |  | Exterior Surface Mounted Light | 1 | 0% | 1 | EA | 330 | 330
215 |  | Suspended Linear Island Light | 9 | 0% | 9 | EA | 410 | 3690
216 |  | Linear Utlility Light | 6 | 0% | 6 | EA | 385 | 2310
217 |  | Dimmer Switch , Flush Mounted | 73 | 0% | 73 | EA | 140 | 10220
218 |  | Single Pole Flush Tumbler | 29 | 0% | 29 | EA | 110 | 3190
POWER FIXTURES
219 |  | GFCI Receptacle , 2P ,3W , 20A , 125V | 54 | 0% | 54 | EA | 140 | 7560
220 |  | Duplex Receptacle , 2P , 3W , 20A , 125V | 83 | 0% | 83 | EA | 120 | 9960
221 |  | Quadruplex Receptacle , 2P , 3W , 20A , 125V | 25 | 0% | 25 | EA | 140 | 3500
222 |  | Ceiling Fan | 12 | 0% | 12 | EA | 510 | 6120
223 |  | Television Outlet Mounted | 13 | 0% | 13 | EA | 140 | 1820
224 |  | Special Receptacle | 3 | 0% | 3 | EA | 140 | 420
225 |  | Occupancy Sensor | 4 | 0% | 4 | EA | 180 | 720
226 |  | GFCI Receptacle Weatherproof | 7 | 0% | 7 | EA | 150 | 1050
227 |  | Motor | 10 | 0% | 10 | EA | 400 | 4000
FIRE ALARM
228 |  | Fire Alarm Control Panal | 4 | 0% | 4 | EA | 600 | 2400
229 |  | Fire Alaram Pull Station Device | 2 | 0% | 2 | EA | 110 | 220
230 |  | Fire Alarm Audio-Visual Signaling Device | 3 | 0% | 3 | EA | 110 | 330
231 |  | Smoke Detector | 12 | 0% | 12 | EA | 140 | 1680
232 |  | Fire Alarm Audio Only | 17 | 0% | 17 | EA | 110 | 1870
233 |  | Sprinkler Flow Switch | 1 | 0% | 1 | EA | 95 | 95
234 |  | Fire Alarm Annunciator Panel | 1 | 0% | 1 | EA | 110 | 110
ELECTRICAL PANEL BOARD
235 |  | Panel Board PH , 240/120V | 1 | 0% | 1 | EA | 1200 | 1200
236 |  | Pana Board P1, Load center P1 , 240/120V , 150A | 1 | 0% | 1 | EA | 1200 | 1200
237 |  | Panel Board P2 , 240/120V , 150A | 1 | 0% | 1 | EA | 1200 | 1200
238 |  | Panel Board P3 , 240/120V , 150A | 1 | 0% | 1 | EA | 1200 | 1200
239 |  | Allownces For All Wires and Conduits | 1 | 0% | 1 | LS | 19500 | 19500
| DIV. 31 | EARTHWORKS | [6 empty] | 10765.755
240 |  | Excavation at basement 2'-8" | 91.1 | 10% | 100.21 | CY | 65 | 6513.65
241 |  | Excavation for new basemest area | 47 | 10% | 51.7 | CY | 65 | 3360.5
242 |  | Excavation for footings | 12.47 | 10% | 13.717 | CY | 65 | 891.605
SUB TOTAL | [7 empty] | 844298.4423 | 844298.4423
INSURANCE | [6 empty] | 5% | 42214.9221 | 42214.9221
OVERHEAD AND PROFIT | [6 empty] | 20% | 168859.6885 | 168859.6885
TOTAL BASE BID | [7 empty] | 1055373.0528 | 1055373.0528